## Slide 1: GUI for UniSERS application

## Slide 2
NPs
CrosLIn
Water
Titrant
Gate 0
Gate 1
Gate 2
Gate 4
Gate 5
Mineral
Batch MD087
Switch board positions: [1,3,4]
: 20 (mbar)
Integration time : 15 (sec)
Step time : 5 (min)
Cycles : 6
Spectra/step = 20
Estimation time 5 (hours)
Oil
NPs
CrosLIn
Water
Titrant
PEG, PEI, EBT
Evian water
EDTA 4mM
Reservoirs :
Oil - Mineral oil
NPs - batch MD087
CrosLIN – PEG, PEI, EBT
Water - Evian water
Titrant – EDTA 4mM
----------------
Start experiment at 16:29:08
Switch on port A is at position 1
Switch on port B is at position 1
stabilising ...
Switch on port A is at position 1
Switch on port B is at position 1
Applying = 690,450,580,460,460
Applying = 690,450,580,480,440
Reservoir
Wavelength (nm)
Intensity (counts)
X:
-
500
700
Y:
-
0
15000

## Slide 3
Switch board positions: [1,3,4]
: 20 (mbar)
Integration time : 15 (sec)
Step time : 5 (min)
Cycles : 6
my_gates = [0,1,2,4,5]
my_ini_pressures =
[460,460,690,450,450]
my_ESS_input = np.array([1,3,4])
delta_P = 20
t_integration_s = 15
t_step_min = 5 #min
cycles = 6
Spectra/step = 20
Estimation time 5 (hours)
Calculate = len(switch_board_positions)*step_time*10*cycles
Oil
NPs
CrosLIn
Water
Titrant
PEG, PEI, EBT
Evian water
EDTA 4mM
Text input
could be nice if we can change them
during the experiment
Calculate = int((Step time*60)/Integration time)
Reservoirs :
Oil - Mineral oil
NPs - batch MD087
CrosLIN – PEG, PEI, EBT
Water - Evian water
Titrant – EDTA 4mM
----------------
Start experiment at 16:29:08
Switch on port A is at position 1
Switch on port B is at position 1
stabilising ...
Switch on port A is at position 1
Switch on port B is at position 1
Applying = 690,450,580,460,460
Applying = 690,450,580,480,440
Gate 0
Gate 1
Gate 2
Gate 4
Gate 5
Mineral
Batch MD087
NPs
CrosLIn
Water
Titrant
Wavelength (nm)
Intensity (counts)
X:
-
500
700
Y:
-
0
15000
Reservoir
Launch the exp
Close()
Save the info of the printing on the left into a text file with the same name as the data name.
Print reservoirs info
Print the status of the experiment, have a scroll bar to come back to see what was going on before.
Read flow rate measured: Q_NPs, Q_CrosLIn, Q_Water, Q_Titrant
Read self.intensities = self.spec.intensities()
In the future, I would like :
  An option to appear the spectrum after baseline correction.
  And finally, live titration and give the result directly within this application.
Scale the xy range
to cover all the value
Zoom in xy range
P_Oil_m,P_NPs_m,P_CrosLIn_m,
P_Water_m,P_Titrant_m
Read pressures measured